## Overview
The various sheets in this workbook provide assistance in using the test set discussed in the QEX paper
A Simplified Impedance Analyzer - Simple Add On Network to Characterize Networks
This sheet, the Overview, provides an explanation of the 4 sheets, Complex_v0
Series Z to Test Set Values, Test Set Values to Series Z and Test Set Values to S21
| COMPLEX_v0 | SHEET 1
Complex_v0 is a simple review of handling complex numbers in Excel. It highlights
the basic syntax required by Excel to convert real numbers to complex, rectangle
coordinates to polar, finding proper angles and magnitudes of complex numbers.
NONE of the SHEETS are PROTECTED. Make a backup of the downloaded workbook
in case you accidently foul up the equations in the cells!
All Cell Inputs are shaded in Pink
All Cell Outputs are shaded in Grey and should not be touched
SERIES Z TO TEST SET VALUES |  | SHEET2 | TEST SET VALUES TO SERIES Z | SHEET 3
If you can estimate the Z under test prior to testing, this sheet permits you |  |  | This is the sheet to use to calculate the unknown Z of the DUT.
to tell in advance the expected voltage ratio as well as the time delay reading |  |  | Inputs are v1, vr or vref, the delay, and the measurement frequency. Take care in measurment
required from your phase detector. For example, the oscilliscope, if used |  |  | of the delay. And note the sign. Is vr leading or lagging vr?
to obtain voltage and time delay, will need the appropriate voltage sensitivity |  |  | See the example illustrations as shown for series R L and series R C .
and time base accuracy and resolution.
Outputs are S11 MAG and ANGLE. Also the series impedance.
Required inputs are simply Frequency, Z series format, and Zo.
All inputs are in PINK cells |  |  | Test set values to S21, gain or loss of the DUT |  | SHEET 4
All outputs are in GREY cells. Z is converted to S11, mag and angle |  |  | This is the sheet to use to calculate the S21 of the DUT. The test is
v1/vref is provided as a ratio and the delay required is in seconds. |  |  | now of a device as a 2 port, so the values that can be returned are
Hence, this data will help guide the selection of the appropriate instrument |  |  | S11 and S21. As S11, the DUT is terminated in Zo. Hence, this S11 will
for the detector function. |  |  | differ than S11 obtained as a one port in the sheet TEST SET VALUES TO SERIES Z.
Inputs are v2, vr or vref, delay, and frequnecy
Outputs are MAG S21 and ANGLE of S21
Outputs also include the gain or loss expressed in dB

## Complex_v0
2+3i |  | complex (2,3) provides a complex number entry | This sheet provides a simple set of complex number calculations in Excel
0.5+0.75i |  | IMDIV(a1,4) divides a complex number by a real number | The math action in cell A and cell B provides annotation of the output
While cell C and beyond provide an explanation of the entries used in Excel
2 | REAL | IMREAL(a1) returns the real value of a complex number
3 | IMAG | IMAGINARY(a1) returns the imaginary value of a complex number
3.6056 | MAG | SQRT(real^2+imag^2) returns the magnitude of the complex number
56.3099 | ANGLE | degrees(atan2(real,imag)) returns the correct angle for complex number
3.6 | mag | converting polar to rectangular…use entries at a13,a14
56.3 | angle | entries are from approx from a8,a11
1.9974 |  | real = a13*cos(radians(a14))
2.995 |  | imag=a13*sin(radians(a14))

## Series Z to Test Set Values
This section converts a series Z value (DUT) to the results that a Test Set would output.
The purpose of this section is to judge if the available detector method is capable of
providing the desired accurate results. For example, if the output delay value is 1 nSec
and the oscilloscope is limited to 10 MHz, unlikely accurate measurements will result.
Input Frequency and Series Z here:
[6 empty] | Freq Hz | Imag | Real
[6 empty] | 12900000 | 97 | 12
Input Test set Zo here
Zo | 50 | Convert a Z to Gamma | -38+97i | 62+97i | 0.532181392892175+0.731909756281597i
Series Z | 12+97i | Auto Entered for series R and X
Convert Gamma to Polar
0.532181392892175+0.731909756281597i
MAG S11 | 0.90494 |  |  |  |  | This is the magnitude and angle of the
ANG S11 | 53.9786 |  |  |  |  | series impedance expressed as Gamma, S11
Real Gam | 0.53218
add unity | 1.5322
continue | 0.73191
continue | 1.53218139289218+0.731909756281597i
v1/vref | 1.698 |  |  |  |  | This is the test set channel ratio, v1/vref >=1 or <1 dependent on the ¦Z¦ as compared to Zo
angle | 25.5334 | angle to get delay
delay | 5.4981e-09 |  |  |  |  | This is the required delay between the AC signals
at v1 and vref. If a scope is the detector, the time
base accuracy should be checked against this delay.

## Test Set Values to Series Z
This section takes the measured test set values, v1 and vref
and provides the S11 and the resulting series impedance. | [6 empty] | This is an example of a series R L network… vr lags v1
Input values required are v1 and vr and the phase relationship,
delay is input in seconds between the v1 and vr signals.
If vr leads the v1 phase, noted at either the zero crossings of the
signals or their peak-to-peak alignments, then input delay is
a postive value. Otherwise, input delay is a negative value.
This is an example of a series R C network… vr leads v1
Starting the sheet for the paper using the Resistive Power Divider_Pad Test Set…Finding S11
v1 | 1.698 |  | volts
vref | 1 |  | volts
delay | -5.29e-09 | secs
Freq | 12900000 | Hz
degrees | -24.5668 |  |  |  | radians | -0.42877
v1/vref | 1.698 | mag
angle | 24.5668 | degrees | Angle is positive if v1 is leading vref
real | 1.5443
imag | 0.70595
cmpx | 1.5442927275208+0.705948986631737i
subt 1 | 0.54429
imag | 0.70595
cmpx | 0.5442927275208+0.705948986631737i
to polar | 0.89141 | This is S11 MAG
to polar | 52.3675 | This is S11 ANGLE
Convert the S11 MAG and ANGLE to the series Z value…
1.5443
0.45571
0.70595
1.5442927275208+0.705948986631737i |  |  |  | numerator
0.4557072724792-0.705948986631737i |  |  |  | denominator
0.290894942425137+1.99976175823408i |  |  |  | quotient
14.5447 | 99.9881 | Series Impedance Result

## Test Set Values to S21
This section solves for the S21 or transmission gain for the DUT network. | [5 empty] | Display of S21 voltages v2 and vr magnitudes and phase for a series R L at 2 MHz.
The DUT is inserted in series between port v1 and v2 and the ratio to measure | [5 empty] | Note despite the low frequnecy, the delay is small. Since vr leads v2, the time delay is positive.
is v2 relative to vr. The time delay between v2 and vr is also required.
Input values required are v2 and vr and the phase relationship,
delay is input in seconds betrween the v2 and vr signals.
If vr leads the v2 phase, noted at either the zero crossings of the
signals or their peak-to-peak alignments, then input delay is
a postive value. Otherwise, input delay is a negative value.
Starting the sheet for the paper using the Resistive Power Divider_Pad Test Set…Finding S21
v2 | 0.022 |  | volts
vref | 0.025 |  | volts
delay | 1e-08 | secs |  |  |  | Note if we expand the view around the 0 mV crossing point, the Time values are 97.5 uS 97.51 uS
Freq | 2000000 | Hz
degrees | 7.2 |  |  | radians | 0.12566
v2/vref | 0.88 | mag
angle | -7.2 | degrees | Angle is positive if v1 is leading vref
real | 0.87306
imag | -0.11029
cmpx | 0.87306093715674-0.110293245536588i
MAG S21 | 0.88
ANG S21 | -7.2 |  |  |  |  | Hence the measured delay is 10 nanoSeconds. This is the level of delay that would need to be registered via the detector
dB S21 | -1.1103 | This is S21 Gain dB